------------1

Gooseneck

Cover Plate

Rubber Seal

Plastic Ring

Steel Washer

Plastic Ferrule

Compression Nut

Counter Top

------------2

Adjusting Screw

Inert

Clod Water Pipe

Valve Handle for Piercing the

Pipe and for Shutting off Cold

Water Supply

Water Supply Tube

------------3

- Slide compression nut onto tube

- Insert tube into clamp

- Tighten nut

Drain Line

Rubber Gasket

Between

Drain and Clamp

Drain Pipe

------------4

To/From Water

Storage Tank

(Follow)

(Follow)

5th Stage Post-Filter

De-Iorized DI

For Soften Water

4th Stage

RO Filter Housing

For RO Membrane

(Follow)

3rd Stage Pre-Filter

5 micron Coconut Carbon Block

Removing Chemicals

6th Stage In-Line Filter

Granular Activated Carbon

For Good Water Taste

Pure Water Outlet

To Faucet

Blue Label/Line

(Follow)

(Follow)

Flow Restrictor

(Follow)

Waste Water Outlet

To Drain Valve

Red Label/Line

(Follow)

Fresh or Well Water

From Faucet

Yellow Label/Line

1st stage Pre-Filter

5 micron polypropylene

For Removing Sediment

2nd Stage Pre-Filter

CTO Granular Activated Carbon

For Removing Chemicals