10寸2分透明滤壳

产品名称：10" Clear  Housing For Pre Water Filter Reverse Osmosis

详细说明：Features: Uses with this item

Made entirely of plastic so it will never rust

Built in pressure release valve on top

O-ring seal between top and base

Rated at 125 psi max operating pressure

Rated at 125 degrees max operating temperature

Accepts standard 2 1/2" diameter cartridges

Specifications

10" Housing Pre filter For Osmosis Clear Water Filters

Dimensions

10" Housing Pre filter For Osmosis Clear Water Filters

for 1/4" pipe thread inside/inner

4 3/4 inches x 4 3/4 inches x 12 inches (W x L x H)