COMPONENTS/PARTS

Your new RO system should include the following items. If any item is missing,
please contact your supplier, retailer or any local professional plumbing service.

Please take a few moments to check all the following components:

• 5-Stage Reverse Osmosis Assembly
• Drinking Water Storage Pressure Tank

- Feed Water Valve

- Drain Saddle Valve

• Storage Tank Shut-Off Ball Valve

- Faucet Package

• Filter Housing Wrench

- Color Poly Tubing

- Extra Locking Clips

- Leak Stop Valve

• Teflon tape

Recommended Tools List

Before you begin, make sure the installation kit and tools are
complete and ready to use.

• Box cutter
• Phillips screwdriver
• 1 /4M Drill Bit (waste line connection)
.1/2W Drill Bit (faucet hole)

• Wrench or adjustable wrench